## Sheet1
y=f()
y | Elongation at Break (%) | 0 to 800
x1 | Chamber number | N3, E4, N7, N9, N13, E13
x2 | Sample location | 1~5(top) 6~10(bottom)
x3 | Temperature (C) | 30, 40, 50
x4 | Humidity (RH) | 0, 75
x5 | UV intensity (%) | 100, 63, 39, 25, 10,5
x6 | Exposure total time (hours)
x7 | Dose (MJ/m2)
x8 | Program number | Project 21
x9 | Sample number | #
x10 | Sample type | PE-2480 DB
x11 | DB sample hot press date (dd/mm/yy)
x12 | UV exposure starting date (dd/mm/yy)
x13 | UV exposure ending date (dd/mm/yy)
x14 | Tensile test date (dd/mm/yy)
x15 | UV exposure length (cm) | 5
x16 | Measurement type | Tensile test
x17 | Measurement user | Hsiang-Chun
x18 | MTS speed (in/min) | 5
x19 | Test method file name | MTS Tensile no LX Jenn new
X20

## Sheet2
y=f()
| y | Elongation at Break (%) | 0-800
| x1 | Chamber number | N3, E4, N7, N9, N13, E13
| x2 | Sample location | 1~5(top) 6~10(bottom)
| x3 | Temperature (C) | 30, 40, 50
| x4 | Humidity (RH) | 0, 75
| x5 | UV intensity (%) | 100, 63, 39, 25, 10,5
| x6 | Exposure total time (hours)
| x7 | Dose (MJ/m2)
y | x1 | x2 | x3 | x4 | x5 | x6 | x7
724.5 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0 | unexposed
615.2 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0 | samples
789.3 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
761.4 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
543.4 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
634.5 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
763.4 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
790.6 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
762.5 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
571.2 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
582.2 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
731.4 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
662 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
558.4 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
732.5 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
733.7 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
637.8 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
622.3 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
740.9 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
626.4 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
706.8 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
752.5 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
653.9 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
582.5 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
695.3 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
567.8 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
702.5 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
806.4 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
720.6 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
784.7 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
627.5 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
732.3 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
581.2 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
740.2 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
733.9 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
737 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
743.7 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
756.2 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
693.4 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
628.5 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
762.3 | Dose (MJ/m2) x6: 0; Dose (MJ/m2) x7: 0
646.4 | 25 | 1 | 40 | 0 | 40 | 28.56 | 5.1212
722.3 | 25 | 2 | 40 | 0 | 40 | 28.56 | 5.1212
667.8 | 25 | 3 | 40 | 0 | 40 | 28.56 | 5.2067
723.4 | 25 | 4 | 40 | 0 | 40 | 28.56 | 5.2067
442 | 25 | 5 | 40 | 0 | 40 | 28.56 | 5.5092
722.3 | 25 | 1 | 40 | 0 | 40 | 48 | 10.2424
699.5 | 25 | 2 | 40 | 0 | 40 | 48 | 10.2424
632 | 25 | 3 | 40 | 0 | 40 | 48 | 10.4135
597.1 | 25 | 4 | 40 | 0 | 40 | 48 | 10.4135
765.2 | 25 | 5 | 40 | 0 | 40 | 48 | 11.0185
750.1 | 28 | 1 | 40 | 0 | 40 | 72 | 16.5277
718.4 | 28 | 2 | 40 | 0 | 40 | 72 | 15.9949
697.8 | 28 | 3 | 40 | 0 | 40 | 72 | 15.9949
623.7 | 28 | 4 | 40 | 0 | 40 | 72 | 15.9697
802.9 | 28 | 5 | 40 | 0 | 40 | 72 | 15.9697
725.1 | 28 | 6 | 40 | 0 | 40 | 96 | 23.3775
673.1 | 28 | 7 | 40 | 0 | 40 | 96 | 22.6803
587.8 | 28 | 8 | 40 | 0 | 40 | 96 | 22.6803
797.6 | 28 | 9 | 40 | 0 | 40 | 96 | 22.6835
761.4 | 28 | 10 | 40 | 0 | 40 | 96 | 22.6835
713.9 | 25 | 1 | 40 | 0 | 40 | 120 | 25.6059
611.2 | 25 | 2 | 40 | 0 | 40 | 120 | 25.6059
542.6 | 25 | 3 | 40 | 0 | 40 | 120 | 26.0337
423.1 | 25 | 4 | 40 | 0 | 40 | 120 | 26.0337
624.5 | 25 | 5 | 40 | 0 | 40 | 120 | 27.5462
530 | 28 | 6 | 40 | 0 | 40 | 144 | 35.0662
237.6 | 28 | 8 | 40 | 0 | 40 | 144 | 34.0205
472.1 | 28 | 7 | 40 | 0 | 40 | 144 | 34.0205
249.5 | 28 | 9 | 40 | 0 | 40 | 144 | 34.0253
748.4 | 28 | 10 | 40 | 0 | 40 | 144 | 34.0253
463.4 | 28 | 1 | 40 | 0 | 40 | 168 | 38.5647
316.4 | 28 | 2 | 40 | 0 | 40 | 168 | 37.3215
283.4 | 28 | 3 | 40 | 0 | 40 | 168 | 37.3215
136.2 | 28 | 4 | 40 | 0 | 40 | 168 | 37.2627
516.7 | 28 | 5 | 40 | 0 | 40 | 168 | 37.2627
321.6 | 28 | 1 | 40 | 0 | 40 | 192 | 44.074
224 | 28 | 2 | 40 | 0 | 40 | 192 | 42.6531
258.9 | 28 | 3 | 40 | 0 | 40 | 192 | 42.6531
329.5 | 28 | 4 | 40 | 0 | 40 | 192 | 42.5859
198.7 | 28 | 5 | 40 | 0 | 40 | 192 | 42.5859
170.6 | 28 | 1 | 40 | 0 | 40 | 216 | 49.5832
144.8 | 28 | 2 | 40 | 0 | 40 | 216 | 47.9848
170.8 | 28 | 3 | 40 | 0 | 40 | 216 | 47.9848
199.2 | 28 | 4 | 40 | 0 | 40 | 216 | 47.9092
149.5 | 28 | 5 | 40 | 0 | 40 | 216 | 47.9092
148.1 | 25 | 1 | 40 | 0 | 40 | 240 | 51.2119
190.4 | 25 | 2 | 40 | 0 | 40 | 240 | 51.2119
203.9 | 25 | 3 | 40 | 0 | 40 | 240 | 52.0674
108.1 | 25 | 4 | 40 | 0 | 40 | 240 | 52.0674
228.7 | 25 | 5 | 40 | 0 | 40 | 240 | 55.0925
7.3 | 28 | 6 | 40 | 0 | 40 | 264 | 64.288
54.2 | 28 | 7 | 40 | 0 | 40 | 264 | 62.3708
7.6 | 28 | 8 | 40 | 0 | 40 | 264 | 62.3708
140.9 | 28 | 9 | 40 | 0 | 40 | 264 | 62.3797
7 | 28 | 10 | 40 | 0 | 40 | 264 | 62.3797
50.9 | 25 | 1 | 40 | 0 | 40 | 288 | 61.4543
109.5 | 25 | 2 | 40 | 0 | 40 | 288 | 61.4543
71.5 | 25 | 3 | 40 | 0 | 40 | 288 | 62.4809
23.1 | 25 | 4 | 40 | 0 | 40 | 288 | 62.4809
7.3 | 25 | 5 | 40 | 0 | 40 | 288 | 66.111
4.3 | 25 | 6 | 40 | 0 | 40 | 408 | 93.6572
4.8 | 25 | 8 | 40 | 0 | 40 | 408 | 90.6379
6.5 | 25 | 7 | 40 | 0 | 40 | 408 | 90.6379
5 | 25 | 9 | 40 | 0 | 40 | 408 | 90.4951
5.6 | 25 | 10 | 40 | 0 | 40 | 408 | 90.4951
704.8 | 45 | 1 | 40 | 0 | 63 | 24 | 8.6616
801.7 | 45 | 2 | 40 | 0 | 63 | 24 | 8.6616
667.2 | 45 | 3 | 40 | 0 | 63 | 24 | 8.532
723.1 | 45 | 4 | 40 | 0 | 63 | 24 | 8.532
775.9 | 45 | 5 | 40 | 0 | 63 | 24 | 8.4467
814.5 | 45 | 6 | 40 | 0 | 63 | 48 | 16.8935
802.8 | 45 | 7 | 40 | 0 | 63 | 48 | 16.6199
769.4 | 45 | 8 | 40 | 0 | 63 | 48 | 16.6199
715.7 | 45 | 9 | 40 | 0 | 63 | 48 | 16.7478
703.1 | 45 | 10 | 40 | 0 | 63 | 48 | 16.7478
741.7 | 45 | 1 | 40 | 0 | 63 | 72 | 25.9849
733.1 | 45 | 2 | 40 | 0 | 63 | 72 | 25.9849
797.5 | 45 | 3 | 40 | 0 | 63 | 72 | 25.596
173.4 | 45 | 4 | 40 | 0 | 63 | 72 | 25.596
780.6 | 45 | 5 | 40 | 0 | 63 | 72 | 25.3402
705.9 | 45 | 1 | 40 | 0 | 63 | 96 | 34.6466
603.7 | 45 | 2 | 40 | 0 | 63 | 96 | 34.6466
647.2 | 45 | 3 | 40 | 0 | 63 | 96 | 34.1279
718.1 | 45 | 4 | 40 | 0 | 63 | 96 | 34.1279
648.4 | 45 | 5 | 40 | 0 | 63 | 96 | 33.7869
320 | 45 | 1 | 40 | 0 | 63 | 120 | 43.3082
222.6 | 45 | 2 | 40 | 0 | 63 | 120 | 43.3082
135 | 45 | 3 | 40 | 0 | 63 | 120 | 42.6599
486.7 | 45 | 4 | 40 | 0 | 63 | 120 | 42.6599
439.8 | 45 | 5 | 40 | 0 | 63 | 120 | 42.2337
741.5 | 45 | 6 | 40 | 0 | 63 | 120 | 42.2337
490.3 | 45 | 7 | 40 | 0 | 63 | 120 | 41.5498
684.5 | 45 | 8 | 40 | 0 | 63 | 120 | 41.5498
436.7 | 45 | 9 | 40 | 0 | 63 | 120 | 41.8695
752.8 | 45 | 10 | 40 | 0 | 63 | 120 | 41.8695
719.8 | 45 | 6 | 40 | 0 | 63 | 144 | 50.6804
680 | 45 | 7 | 40 | 0 | 63 | 144 | 49.8598
477.3 | 45 | 8 | 40 | 0 | 63 | 144 | 49.8598
538.9 | 45 | 9 | 40 | 0 | 63 | 144 | 50.2435
210.6 | 45 | 10 | 40 | 0 | 63 | 144 | 50.2435
310.6 | 45 | 1 | 40 | 0 | 63 | 168 | 60.6315
308.1 | 45 | 2 | 40 | 0 | 63 | 168 | 60.6315
95.3 | 45 | 3 | 40 | 0 | 63 | 168 | 59.7239
255.9 | 45 | 4 | 40 | 0 | 63 | 168 | 59.7239
307.9 | 45 | 5 | 40 | 0 | 63 | 168 | 59.1271
114 | 33 | 6 | 40 | 0 | 63 | 192 | 74.2036
116.4 | 33 | 7 | 40 | 0 | 63 | 192 | 71.613
169.3 | 33 | 8 | 40 | 0 | 63 | 192 | 71.613
144.5 | 33 | 9 | 40 | 0 | 63 | 192 | 71.4637
197.9 | 33 | 10 | 40 | 0 | 63 | 192 | 71.4637
113.9 | 33 | 1 | 40 | 0 | 63 | 216 | 78.9192
7.8 | 33 | 2 | 40 | 0 | 63 | 216 | 78.9192
102.8 | 33 | 3 | 40 | 0 | 63 | 216 | 79.4812
223.9 | 33 | 4 | 40 | 0 | 63 | 216 | 79.4812
70.3 | 33 | 5 | 40 | 0 | 63 | 216 | 83.479
51.2 | 33 | 1 | 40 | 0 | 63 | 240 | 87.688
25.3 | 33 | 2 | 40 | 0 | 63 | 240 | 87.688
91.8 | 33 | 3 | 40 | 0 | 63 | 240 | 88.3124
8.1 | 33 | 4 | 40 | 0 | 63 | 240 | 88.3124
25.7 | 33 | 5 | 40 | 0 | 63 | 240 | 92.7545
8.9 | 41 | 1 | 40 | 0 | 63 | 264 | 88.7444
8.9 | 41 | 2 | 40 | 0 | 63 | 264 | 88.7444
15.8 | 41 | 3 | 40 | 0 | 63 | 264 | 90.2423
8.1 | 41 | 4 | 40 | 0 | 63 | 264 | 90.2423
5.6 | 41 | 5 | 40 | 0 | 63 | 264 | 96.127
737 | 25 | 1 | 40 | 0 | 100 | 24 | 13.4202
822.3 | 25 | 2 | 40 | 0 | 100 | 24 | 13.4202
739.2 | 25 | 3 | 40 | 0 | 100 | 24 | 13.355
824.5 | 25 | 4 | 40 | 0 | 100 | 24 | 13.355
799.8 | 25 | 5 | 40 | 0 | 100 | 24 | 13.561
742.8 | 21 | 6 | 40 | 0 | 100 | 72 | 39.5862
741.7 | 21 | 7 | 40 | 0 | 100 | 72 | 38.8018
812.3 | 21 | 8 | 40 | 0 | 100 | 72 | 38.8018
807.5 | 21 | 9 | 40 | 0 | 100 | 72 | 38.9737
828.4 | 21 | 10 | 40 | 0 | 100 | 72 | 38.9737
759.5 | 46 | 1 | 40 | 0 | 100 | 96 | 54.9952
796.7 | 46 | 2 | 40 | 0 | 100 | 96 | 54.9952
749.2 | 46 | 3 | 40 | 0 | 100 | 96 | 54.6037
817 | 46 | 4 | 40 | 0 | 100 | 96 | 54.6037
720.1 | 46 | 5 | 40 | 0 | 100 | 96 | 55.2409
663.4 | 21 | 6 | 40 | 0 | 100 | 120 | 66.6746
635.9 | 21 | 7 | 40 | 0 | 100 | 120 | 66.6746
478.9 | 21 | 8 | 40 | 0 | 100 | 120 | 66.245
497.2 | 21 | 9 | 40 | 0 | 100 | 120 | 66.245
699.3 | 21 | 10 | 40 | 0 | 100 | 120 | 65.977
472.5 | 21 | 1 | 40 | 0 | 100 | 144 | 80.0095
317.6 | 21 | 2 | 40 | 0 | 100 | 144 | 80.0095
438.6 | 21 | 3 | 40 | 0 | 100 | 144 | 79.494
317 | 21 | 4 | 40 | 0 | 100 | 144 | 79.494
441.7 | 23 | 5 | 40 | 0 | 100 | 144 | 79.1724
160 | 23 | 1 | 40 | 0 | 100 | 144 | 79.1724
432 | 27 | 2 | 40 | 0 | 100 | 144 | 77.6036
214.5 | 29 | 3 | 40 | 0 | 100 | 144 | 77.6036
431.4 | 31 | 4 | 40 | 0 | 100 | 144 | 77.9473
393.1 | 21 | 5 | 40 | 0 | 100 | 144 | 77.9473
132.5 | 21 | 1 | 40 | 0 | 100 | 168 | 93.3444
143.7 | 21 | 2 | 40 | 0 | 100 | 168 | 93.3444
251.2 | 21 | 3 | 40 | 0 | 100 | 168 | 92.743
153.9 | 21 | 4 | 40 | 0 | 100 | 168 | 92.743
279.5 | 21 | 5 | 40 | 0 | 100 | 168 | 92.3678
21.1 | 46 | 1 | 40 | 0 | 100 | 192 | 109.9905
38.9 | 46 | 2 | 40 | 0 | 100 | 192 | 109.9905
107.8 | 46 | 3 | 40 | 0 | 100 | 192 | 109.2074
60.9 | 46 | 4 | 40 | 0 | 100 | 192 | 109.2074
51.4 | 46 | 5 | 40 | 0 | 100 | 192 | 110.4818
147.5 | 21 | 6 | 40 | 0 | 100 | 216 | 118.7587
15.6 | 21 | 7 | 40 | 0 | 100 | 216 | 116.4054
17.3 | 21 | 8 | 40 | 0 | 100 | 216 | 116.4054
28.4 | 21 | 9 | 40 | 0 | 100 | 216 | 116.921
94.2 | 21 | 10 | 40 | 0 | 100 | 216 | 116.921
17.3 | 25 | 1 | 40 | 0 | 100 | 264 | 147.6222
15 | 25 | 2 | 40 | 0 | 100 | 264 | 147.6222
15.9 | 25 | 3 | 40 | 0 | 100 | 264 | 146.9049
14.5 | 25 | 4 | 40 | 0 | 100 | 264 | 146.9049
17.5 | 25 | 5 | 40 | 0 | 100 | 264 | 149.1711
17.8 | 25 | 1 | 40 | 0 | 100 | 288 | 162.7321
16.5 | 25 | 2 | 40 | 0 | 100 | 288 | 159.1826
15.3 | 25 | 3 | 40 | 0 | 100 | 288 | 159.1826
17.3 | 25 | 4 | 40 | 0 | 100 | 288 | 160.4413
17.3 | 25 | 5 | 40 | 0 | 100 | 288 | 160.4413
788.4 | 45 | 1 | 50 | 0 | 63 | 40.8 | 15.4856
718.1 | 45 | 2 | 50 | 0 | 63 | 40.8 | 15.4856
800.6 | 45 | 3 | 50 | 0 | 63 | 40.8 | 15.2538
289.3 | 45 | 4 | 50 | 0 | 63 | 40.8 | 15.2538
763.9 | 45 | 5 | 50 | 0 | 63 | 40.8 | 15.1013
744.8 | 37 | 6 | 50 | 0 | 63 | 48 | 15.1135
735.9 | 37 | 7 | 50 | 0 | 63 | 48 | 15.0793
624.5 | 37 | 8 | 50 | 0 | 63 | 48 | 15.0793
725.6 | 37 | 9 | 50 | 0 | 63 | 48 | 15.0964
734.7 | 37 | 10 | 50 | 0 | 63 | 48 | 15.0964
742.6 | 45 | 1 | 50 | 0 | 63 | 72 | 27.3275
721.2 | 45 | 2 | 50 | 0 | 63 | 72 | 27.3275
830.6 | 45 | 3 | 50 | 0 | 63 | 72 | 26.9184
500.9 | 45 | 4 | 50 | 0 | 63 | 72 | 26.9184
754.8 | 45 | 5 | 50 | 0 | 63 | 72 | 26.6494
226.2 | 45 | 6 | 50 | 0 | 63 | 79.2 | 29.5809
628.1 | 45 | 7 | 50 | 0 | 63 | 79.2 | 29.1019
664.2 | 45 | 8 | 50 | 0 | 63 | 79.2 | 29.1019
507 | 45 | 9 | 50 | 0 | 63 | 79.2 | 29.3258
824.5 | 45 | 10 | 50 | 0 | 63 | 79.2 | 29.3258
281.4 | 45 | 1 | 50 | 0 | 63 | 96 | 36.4366
293.4 | 45 | 2 | 50 | 0 | 63 | 96 | 36.4366
267 | 45 | 3 | 50 | 0 | 63 | 96 | 35.8912
612.6 | 45 | 4 | 50 | 0 | 63 | 96 | 35.8912
470.6 | 45 | 5 | 50 | 0 | 63 | 96 | 35.5326
408.6 | 45 | 6 | 50 | 0 | 63 | 112.8 | 41.7508
185.4 | 45 | 7 | 50 | 0 | 63 | 112.8 | 41.0748
173.4 | 45 | 8 | 50 | 0 | 63 | 112.8 | 41.0748
296.1 | 45 | 9 | 50 | 0 | 63 | 112.8 | 41.3908
322.5 | 45 | 10 | 50 | 0 | 63 | 112.8 | 41.3908
2 | 45 | 1 | 50 | 0 | 63 | 130.8 | 49.3717
3.7 | 45 | 2 | 50 | 0 | 63 | 130.8 | 49.3717
2.9 | 45 | 3 | 50 | 0 | 63 | 130.8 | 48.6326
3.1 | 45 | 4 | 50 | 0 | 63 | 130.8 | 48.6326
3.7 | 45 | 5 | 50 | 0 | 63 | 130.8 | 48.1466
205.6 | 37 | 1 | 50 | 0 | 63 | 144 | 43.4305
7 | 37 | 2 | 50 | 0 | 63 | 144 | 43.4305
20.9 | 37 | 3 | 50 | 0 | 63 | 144 | 44.174
128.2 | 37 | 4 | 50 | 0 | 63 | 144 | 44.174
84.2 | 37 | 5 | 50 | 0 | 63 | 144 | 45.3405
5.9 | 45 | 1 | 50 | 0 | 63 | 168 | 63.7641
7 | 45 | 2 | 50 | 0 | 63 | 168 | 63.7641
7.3 | 45 | 3 | 50 | 0 | 63 | 168 | 62.8096
73.4 | 45 | 4 | 50 | 0 | 63 | 168 | 62.8096
7.6 | 45 | 5 | 50 | 0 | 63 | 168 | 62.182
6.7 | 37 | 1 | 50 | 0 | 63 | 192 | 57.9074
7.3 | 37 | 2 | 50 | 0 | 63 | 192 | 57.9074
22.8 | 37 | 3 | 50 | 0 | 63 | 192 | 58.8987
6.5 | 37 | 4 | 50 | 0 | 63 | 192 | 58.8987
7.8 | 37 | 5 | 50 | 0 | 63 | 192 | 60.454
589.8 | 25 | 1 | 50 | 0 | 40 | 24 | 5.1212
765.4 | 25 | 2 | 50 | 0 | 40 | 24 | 5.1212
325.6 | 25 | 3 | 50 | 0 | 40 | 24 | 5.2067
544.5 | 25 | 4 | 50 | 0 | 40 | 24 | 5.2067
707.8 | 25 | 5 | 50 | 0 | 40 | 24 | 5.5092
676.5 | 28 | 1 | 50 | 0 | 40 | 48 | 11.0185
695.3 | 28 | 2 | 50 | 0 | 40 | 48 | 10.6633
715.7 | 28 | 3 | 50 | 0 | 40 | 48 | 10.6633
836.2 | 28 | 4 | 50 | 0 | 40 | 48 | 10.6465
724.7 | 28 | 5 | 50 | 0 | 40 | 48 | 10.6465
390.9 | 28 | 6 | 50 | 0 | 40 | 72 | 17.5331
681.2 | 28 | 7 | 50 | 0 | 40 | 72 | 17.0102
771.9 | 28 | 8 | 50 | 0 | 40 | 72 | 17.0102
307.6 | 28 | 9 | 50 | 0 | 40 | 72 | 17.0126
720.3 | 28 | 10 | 50 | 0 | 40 | 72 | 17.0126
479.5 | 28 | 1 | 50 | 0 | 40 | 96 | 22.037
92.3 | 28 | 2 | 50 | 0 | 40 | 96 | 21.3266
290.9 | 28 | 3 | 50 | 0 | 40 | 96 | 21.3266
435 | 28 | 4 | 50 | 0 | 40 | 96 | 21.293
570.6 | 28 | 5 | 50 | 0 | 40 | 96 | 21.293
177.5 | 28 | 1 | 50 | 0 | 40 | 120 | 27.5462
148.1 | 28 | 2 | 50 | 0 | 40 | 120 | 26.6582
297.3 | 28 | 3 | 50 | 0 | 40 | 120 | 26.6582
351.2 | 28 | 4 | 50 | 0 | 40 | 120 | 26.6162
411.2 | 28 | 5 | 50 | 0 | 40 | 120 | 26.6162
114.3 | 25 | 6 | 50 | 0 | 40 | 144 | 33.0555
336.1 | 25 | 7 | 50 | 0 | 40 | 144 | 31.9899
177.3 | 25 | 8 | 50 | 0 | 40 | 144 | 31.9899
110.6 | 25 | 9 | 50 | 0 | 40 | 144 | 31.9394
153.7 | 25 | 10 | 50 | 0 | 40 | 144 | 31.9394
225.3 | 25 | 1 | 50 | 0 | 40 | 156 | 33.2877
363.9 | 25 | 2 | 50 | 0 | 40 | 156 | 33.2877
333.6 | 25 | 3 | 50 | 0 | 40 | 156 | 33.8438
138.4 | 25 | 4 | 50 | 0 | 40 | 156 | 33.8438
36.5 | 25 | 5 | 50 | 0 | 40 | 156 | 35.8101
141.2 | 28 | 1 | 50 | 0 | 40 | 168 | 38.5647
213.7 | 28 | 2 | 50 | 0 | 40 | 168 | 37.3215
191.2 | 28 | 3 | 50 | 0 | 40 | 168 | 37.3215
108.4 | 28 | 4 | 50 | 0 | 40 | 168 | 37.2627
149.2 | 28 | 5 | 50 | 0 | 40 | 168 | 37.2627
103.4 | 25 | 6 | 50 | 0 | 40 | 172.8 | 39.6666
30.9 | 25 | 7 | 50 | 0 | 40 | 172.8 | 38.3878
36.8 | 25 | 8 | 50 | 0 | 40 | 172.8 | 38.3878
32 | 25 | 9 | 50 | 0 | 40 | 172.8 | 38.3273
71.2 | 25 | 10 | 50 | 0 | 40 | 172.8 | 38.3273
7 | 28 | 6 | 50 | 0 | 40 | 192 | 46.7549
6.4 | 28 | 7 | 50 | 0 | 40 | 192 | 45.3606
7.3 | 28 | 8 | 50 | 0 | 40 | 192 | 45.3606
6.4 | 28 | 9 | 50 | 0 | 40 | 192 | 45.3671
16.7 | 28 | 10 | 50 | 0 | 40 | 192 | 45.3671
8.1 | 25 | 1 | 50 | 0 | 40 | 216 | 46.0907
8.1 | 25 | 2 | 50 | 0 | 40 | 216 | 46.0907
7.8 | 25 | 3 | 50 | 0 | 40 | 216 | 46.8607
6.7 | 25 | 4 | 50 | 0 | 40 | 216 | 46.8607
7.8 | 25 | 5 | 50 | 0 | 40 | 216 | 49.5832
6.7 | 25 | 1 | 50 | 0 | 40 | 240 | 51.2119
8.7 | 25 | 2 | 50 | 0 | 40 | 240 | 51.2119
6.7 | 25 | 3 | 50 | 0 | 40 | 240 | 52.0674
9.2 | 25 | 4 | 50 | 0 | 40 | 240 | 52.0674
9.8 | 25 | 5 | 50 | 0 | 40 | 240 | 55.0925
4.5 | 28 | 1 | 50 | 0 | 40 | 264 | 60.6017
4.4 | 28 | 2 | 50 | 0 | 40 | 264 | 58.6481
5.6 | 28 | 3 | 50 | 0 | 40 | 264 | 58.6481
6.7 | 28 | 4 | 50 | 0 | 40 | 264 | 58.5556
6.4 | 28 | 5 | 50 | 0 | 40 | 264 | 58.5556
767.3 | 24 | 6 | 50 | 0 | 100 | 28.8 | 16.316
771.1 | 24 | 7 | 50 | 0 | 100 | 28.8 | 16.4123
763.1 | 24 | 8 | 50 | 0 | 100 | 28.8 | 16.4123
810.1 | 24 | 9 | 50 | 0 | 100 | 28.8 | 16.6128
768.9 | 24 | 10 | 50 | 0 | 100 | 28.8 | 16.6128
568.4 | 24 | 1 | 50 | 0 | 100 | 48 | 27.435
812.3 | 24 | 2 | 50 | 0 | 100 | 48 | 27.435
832.3 | 24 | 3 | 50 | 0 | 100 | 48 | 27.1763
482.8 | 24 | 4 | 50 | 0 | 100 | 48 | 27.1763
749.8 | 24 | 5 | 50 | 0 | 100 | 48 | 27.1933
329 | 24 | 1 | 50 | 0 | 100 | 70.56 | 41.1525
642 | 24 | 2 | 50 | 0 | 100 | 70.56 | 41.1525
730.1 | 24 | 3 | 50 | 0 | 100 | 70.56 | 40.7645
737.8 | 24 | 4 | 50 | 0 | 100 | 70.56 | 40.7645
701.2 | 24 | 5 | 50 | 0 | 100 | 70.56 | 40.79
491.2 | 46 | 6 | 50 | 0 | 100 | 83.28 | 48.3358
541.1 | 46 | 7 | 50 | 0 | 100 | 83.28 | 47.8017
305.6 | 46 | 8 | 50 | 0 | 100 | 83.28 | 47.8017
479.2 | 46 | 9 | 50 | 0 | 100 | 83.28 | 48.2283
200.3 | 46 | 10 | 50 | 0 | 100 | 83.28 | 48.2283
260.2 | 46 | 1 | 50 | 0 | 100 | 96.48 | 54.9952
489.5 | 46 | 2 | 50 | 0 | 100 | 96.48 | 54.9952
420.1 | 46 | 3 | 50 | 0 | 100 | 96.48 | 54.6037
386.4 | 46 | 4 | 50 | 0 | 100 | 96.48 | 54.6037
478.7 | 46 | 5 | 50 | 0 | 100 | 96.48 | 55.2409
309.5 | 24 | 6 | 50 | 0 | 100 | 103.2 | 58.4656
187.3 | 24 | 7 | 50 | 0 | 100 | 103.2 | 58.8107
419 | 24 | 8 | 50 | 0 | 100 | 103.2 | 58.8107
216.2 | 24 | 9 | 50 | 0 | 100 | 103.2 | 59.5292
174.2 | 24 | 10 | 50 | 0 | 100 | 103.2 | 59.5292
317.3 | 24 | 6 | 50 | 0 | 100 | 118.56 | 67.9833
304.8 | 24 | 7 | 50 | 0 | 100 | 118.56 | 68.3845
110.9 | 24 | 8 | 50 | 0 | 100 | 118.56 | 68.3845
17.6 | 24 | 9 | 50 | 0 | 100 | 118.56 | 69.22
91.8 | 24 | 10 | 50 | 0 | 100 | 118.56 | 69.22
17.3 | 24 | 6 | 50 | 0 | 100 | 144.48 | 81.5799
26.4 | 24 | 7 | 50 | 0 | 100 | 144.48 | 82.0614
259.8 | 24 | 8 | 50 | 0 | 100 | 144.48 | 82.0614
22.2 | 24 | 9 | 50 | 0 | 100 | 144.48 | 83.064
302.3 | 24 | 10 | 50 | 0 | 100 | 144.48 | 83.064
17.3 | 46 | 1 | 50 | 0 | 100 | 155.28 | 89.3673
21.4 | 46 | 2 | 50 | 0 | 100 | 155.28 | 89.3673
17.6 | 46 | 3 | 50 | 0 | 100 | 155.28 | 88.731
17.3 | 46 | 4 | 50 | 0 | 100 | 155.28 | 88.731
16.2 | 46 | 5 | 50 | 0 | 100 | 155.28 | 89.7665
17.6 | 46 | 6 | 50 | 0 | 100 | 168.48 | 96.6716
17.3 | 46 | 7 | 50 | 0 | 100 | 168.48 | 95.6035
17.2 | 46 | 8 | 50 | 0 | 100 | 168.48 | 95.6035
17 | 46 | 9 | 50 | 0 | 100 | 168.48 | 96.4566
17.3 | 46 | 10 | 50 | 0 | 100 | 168.48 | 96.4566
14.5 | 24 | 6 | 50 | 0 | 100 | 192.48 | 108.7732
15.8 | 24 | 7 | 50 | 0 | 100 | 192.48 | 109.4152
14.5 | 24 | 8 | 50 | 0 | 100 | 192.48 | 109.4152
17 | 24 | 9 | 50 | 0 | 100 | 192.48 | 110.752
16.8 | 24 | 10 | 50 | 0 | 100 | 192.48 | 110.752
771.7 | 45 | 1 | 30 | 0 | 40 | 72 | 17.241
702.2 | 45 | 2 | 30 | 0 | 40 | 72 | 17.241
778.6 | 45 | 3 | 30 | 0 | 40 | 72 | 16.9829
728.9 | 45 | 4 | 30 | 0 | 40 | 72 | 16.9829
817.3 | 45 | 5 | 30 | 0 | 40 | 72 | 16.8132
721.1 | 28 | 6 | 30 | 0 | 40 | 96 | 23.3775
759 | 28 | 7 | 30 | 0 | 40 | 96 | 22.6803
739.8 | 28 | 8 | 30 | 0 | 40 | 96 | 22.6803
715.7 | 28 | 9 | 30 | 0 | 40 | 96 | 22.6835
747.5 | 28 | 10 | 30 | 0 | 40 | 96 | 22.6835
526.4 | 45 | 6 | 30 | 0 | 40 | 120 | 28.022
712.3 | 45 | 7 | 30 | 0 | 40 | 120 | 27.5683
750.9 | 45 | 8 | 30 | 0 | 40 | 120 | 27.5683
787 | 45 | 9 | 30 | 0 | 40 | 120 | 27.7804
817.8 | 45 | 10 | 30 | 0 | 40 | 120 | 27.7804
803.6 | 26 | 6 | 30 | 0 | 40 | 144 | 33.0555
485.6 | 26 | 7 | 30 | 0 | 40 | 144 | 31.9899
725 | 26 | 8 | 30 | 0 | 40 | 144 | 31.9899
507.8 | 26 | 9 | 30 | 0 | 40 | 144 | 31.9394
816.5 | 26 | 10 | 30 | 0 | 40 | 144 | 31.9394
607.8 | 34 | 1 | 30 | 0 | 40 | 168 | 35.8483
772 | 34 | 2 | 30 | 0 | 40 | 168 | 35.8483
380 | 34 | 3 | 30 | 0 | 40 | 168 | 36.4472
762.3 | 34 | 4 | 30 | 0 | 40 | 168 | 36.4472
231.7 | 34 | 5 | 30 | 0 | 40 | 168 | 38.5647
438.4 | 45 | 1 | 30 | 0 | 40 | 189.12 | 45.2864
686.4 | 45 | 2 | 30 | 0 | 40 | 189.12 | 45.2864
499.8 | 45 | 3 | 30 | 0 | 40 | 189.12 | 44.6085
494.5 | 45 | 4 | 30 | 0 | 40 | 189.12 | 44.6085
818.9 | 45 | 5 | 30 | 0 | 40 | 189.12 | 44.1627
235.6 | 21 | 1 | 30 | 0 | 40 | 240 | 52.1405
410 | 21 | 2 | 30 | 0 | 40 | 240 | 52.1405
347.8 | 21 | 3 | 30 | 0 | 40 | 240 | 52.5998
318.1 | 21 | 4 | 30 | 0 | 40 | 240 | 52.5998
165.6 | 21 | 5 | 30 | 0 | 40 | 240 | 54.4636
177.3 | 21 | 6 | 30 | 0 | 40 | 264 | 59.91
252.5 | 21 | 7 | 30 | 0 | 40 | 264 | 57.4589
227.3 | 21 | 8 | 30 | 0 | 40 | 264 | 57.4589
319.5 | 21 | 9 | 30 | 0 | 40 | 264 | 56.7992
279.8 | 21 | 10 | 30 | 0 | 40 | 264 | 56.7992
187 | 21 | 1 | 30 | 0 | 40 | 294 | 63.8721
248.1 | 21 | 2 | 30 | 0 | 40 | 294 | 63.8721
156.2 | 21 | 3 | 30 | 0 | 40 | 294 | 64.4348
102.1 | 21 | 4 | 30 | 0 | 40 | 294 | 64.4348
230.6 | 21 | 5 | 30 | 0 | 40 | 294 | 66.7179
68.4 | 45 | 1 | 30 | 0 | 40 | 320.4 | 76.7225
178.7 | 45 | 2 | 30 | 0 | 40 | 320.4 | 76.7225
208.4 | 45 | 3 | 30 | 0 | 40 | 320.4 | 75.574
86.3 | 45 | 4 | 30 | 0 | 40 | 320.4 | 75.574
123.9 | 45 | 5 | 30 | 0 | 40 | 320.4 | 74.8188
177.8 | 28 | 1 | 30 | 0 | 40 | 343.92 | 78.9475
133.4 | 28 | 2 | 30 | 0 | 40 | 343.92 | 76.4024
17.5 | 28 | 3 | 30 | 0 | 40 | 343.92 | 76.4024
135.6 | 28 | 4 | 30 | 0 | 40 | 343.92 | 76.282
107 | 28 | 5 | 30 | 0 | 40 | 343.92 | 76.282
81.2 | 28 | 6 | 30 | 0 | 40 | 360 | 87.6655
59.9 | 28 | 7 | 30 | 0 | 40 | 360 | 85.0511
8.7 | 28 | 8 | 30 | 0 | 40 | 360 | 85.0511
228.7 | 28 | 9 | 30 | 0 | 40 | 360 | 85.0632
145.6 | 28 | 10 | 30 | 0 | 40 | 360 | 85.0632
120 | 21 | 6 | 30 | 0 | 40 | 387.36 | 87.9042
108.2 | 21 | 7 | 30 | 0 | 40 | 387.36 | 84.3079
101.4 | 21 | 8 | 30 | 0 | 40 | 387.36 | 84.3079
100.6 | 21 | 9 | 30 | 0 | 40 | 387.36 | 83.3399
9.8 | 21 | 10 | 30 | 0 | 40 | 387.36 | 83.3399
45.6 | 25 | 1 | 30 | 0 | 40 | 408 | 87.0602
123.7 | 25 | 2 | 30 | 0 | 40 | 408 | 87.0602
19.8 | 25 | 3 | 30 | 0 | 40 | 408 | 88.5147
77 | 25 | 4 | 30 | 0 | 40 | 408 | 88.5147
9.8 | 25 | 5 | 30 | 0 | 40 | 408 | 93.6572
10.1 | 25 | 6 | 30 | 0 | 40 | 432 | 99.1665
10 | 25 | 7 | 30 | 0 | 40 | 432 | 95.9696
55.3 | 25 | 8 | 30 | 0 | 40 | 432 | 95.9696
86.2 | 25 | 9 | 30 | 0 | 40 | 432 | 95.8183
7.3 | 25 | 10 | 30 | 0 | 40 | 432 | 95.8183
8.1 | 28 | 1 | 30 | 0 | 40 | 456 | 104.6757
8.4 | 28 | 2 | 30 | 0 | 40 | 456 | 101.3012
7.5 | 28 | 3 | 30 | 0 | 40 | 456 | 101.3012
9.2 | 28 | 4 | 30 | 0 | 40 | 456 | 101.1415
6.5 | 28 | 5 | 30 | 0 | 40 | 456 | 101.1415
8.4 | 45 | 1 | 30 | 0 | 40 | 480 | 114.94
33.4 | 45 | 2 | 30 | 0 | 40 | 480 | 114.94
8.7 | 45 | 3 | 30 | 0 | 40 | 480 | 113.2194
8.9 | 45 | 4 | 30 | 0 | 40 | 480 | 113.2194
9 | 45 | 5 | 30 | 0 | 40 | 480 | 112.0881
800 | 33 | 1 | 30 | 0 | 63 | 72 | 26.3064
784.5 | 33 | 2 | 30 | 0 | 63 | 72 | 26.3064
738.1 | 33 | 3 | 30 | 0 | 63 | 72 | 26.4937
562.6 | 33 | 4 | 30 | 0 | 63 | 72 | 26.4937
749.1 | 33 | 5 | 30 | 0 | 63 | 72 | 27.8263
620.9 | 46 | 6 | 30 | 0 | 63 | 93.6 | 33.9856
766.2 | 46 | 7 | 30 | 0 | 63 | 93.6 | 33.6101
712.9 | 46 | 8 | 30 | 0 | 63 | 93.6 | 33.6101
343.1 | 46 | 9 | 30 | 0 | 63 | 93.6 | 33.91
777 | 46 | 10 | 30 | 0 | 63 | 93.6 | 33.91
769.2 | 46 | 1 | 30 | 0 | 63 | 124.08 | 44.8523
656.2 | 46 | 2 | 30 | 0 | 63 | 124.08 | 44.8523
728.7 | 46 | 3 | 30 | 0 | 63 | 124.08 | 44.533
772 | 46 | 4 | 30 | 0 | 63 | 124.08 | 44.533
788.6 | 46 | 5 | 30 | 0 | 63 | 124.08 | 45.0527
618.6 | 41 | 1 | 30 | 0 | 63 | 146.64 | 49.2935
569.5 | 41 | 2 | 30 | 0 | 63 | 146.64 | 49.2935
663.4 | 41 | 3 | 30 | 0 | 63 | 146.64 | 50.1255
553.7 | 41 | 4 | 30 | 0 | 63 | 146.64 | 50.1255
562.6 | 41 | 5 | 30 | 0 | 63 | 146.64 | 53.3942
364 | 46 | 6 | 30 | 0 | 63 | 175.2 | 63.614
185 | 46 | 7 | 30 | 0 | 63 | 175.2 | 62.9112
247 | 46 | 8 | 30 | 0 | 63 | 175.2 | 62.9112
131.7 | 46 | 9 | 30 | 0 | 63 | 175.2 | 63.4726
320.6 | 46 | 10 | 30 | 0 | 63 | 175.2 | 63.4726
342.8 | 33 | 6 | 30 | 0 | 63 | 193.68 | 74.8529
301.4 | 33 | 7 | 30 | 0 | 63 | 193.68 | 72.2397
178.1 | 33 | 8 | 30 | 0 | 63 | 193.68 | 72.2397
469.8 | 33 | 9 | 30 | 0 | 63 | 193.68 | 72.089
425.1 | 33 | 10 | 30 | 0 | 63 | 193.68 | 72.089
328.8 | 33 | 1 | 30 | 0 | 63 | 221.52 | 80.936
252 | 33 | 2 | 30 | 0 | 63 | 221.52 | 80.936
168.9 | 33 | 3 | 30 | 0 | 63 | 221.52 | 81.5124
334.8 | 33 | 4 | 30 | 0 | 63 | 221.52 | 81.5124
320 | 33 | 5 | 30 | 0 | 63 | 221.52 | 85.6124
170.3 | 46 | 1 | 30 | 0 | 63 | 240 | 86.755
190.6 | 46 | 2 | 30 | 0 | 63 | 240 | 86.755
307 | 46 | 3 | 30 | 0 | 63 | 240 | 86.1373
11.5 | 46 | 4 | 30 | 0 | 63 | 240 | 86.1373
120.3 | 46 | 5 | 30 | 0 | 63 | 240 | 87.1425
483.4 | 41 | 1 | 30 | 0 | 63 | 264 | 88.7444
522.3 | 41 | 2 | 30 | 0 | 63 | 264 | 88.7444
491.5 | 41 | 3 | 30 | 0 | 63 | 264 | 90.2423
342.8 | 41 | 4 | 30 | 0 | 63 | 264 | 90.2423
160.4 | 41 | 5 | 30 | 0 | 63 | 264 | 96.127
100.3 | 46 | 1 | 30 | 0 | 63 | 294 | 106.2748
85 | 46 | 2 | 30 | 0 | 63 | 294 | 106.2748
168.1 | 46 | 3 | 30 | 0 | 63 | 294 | 105.5182
181.2 | 46 | 4 | 30 | 0 | 63 | 294 | 105.5182
11.5 | 46 | 5 | 30 | 0 | 63 | 294 | 106.7496
10.6 | 33 | 1 | 30 | 0 | 63 | 320.4 | 117.0635
9 | 33 | 2 | 30 | 0 | 63 | 320.4 | 117.0635
11.2 | 33 | 3 | 30 | 0 | 63 | 320.4 | 117.8971
9.7 | 33 | 4 | 30 | 0 | 63 | 320.4 | 117.8971
8.9 | 33 | 5 | 30 | 0 | 63 | 320.4 | 123.8272
9.8 | 33 | 6 | 30 | 0 | 63 | 348 | 134.494
10.3 | 33 | 7 | 30 | 0 | 63 | 348 | 129.7986
11.2 | 33 | 8 | 30 | 0 | 63 | 348 | 129.7986
9.8 | 33 | 9 | 30 | 0 | 63 | 348 | 129.5279
8.4 | 33 | 10 | 30 | 0 | 63 | 348 | 129.5279
237.7 | 33 | 1 | 30 | 0 | 63 | 360 | 131.532
85.3 | 33 | 2 | 30 | 0 | 63 | 360 | 131.532
50.1 | 33 | 3 | 30 | 0 | 63 | 360 | 132.4687
17.5 | 33 | 4 | 30 | 0 | 63 | 360 | 132.4687
90.3 | 33 | 5 | 30 | 0 | 63 | 360 | 139.1317
10.6 | 46 | 6 | 30 | 0 | 63 | 384 | 139.428
9.5 | 46 | 7 | 30 | 0 | 63 | 384 | 137.8876
10.9 | 46 | 8 | 30 | 0 | 63 | 384 | 137.8876
11.7 | 46 | 9 | 30 | 0 | 63 | 384 | 139.118
11.7 | 46 | 10 | 30 | 0 | 63 | 384 | 139.118
11.6 | 41 | 1 | 30 | 0 | 63 | 408 | 137.1505
11.7 | 41 | 2 | 30 | 0 | 63 | 408 | 137.1505
12 | 41 | 3 | 30 | 0 | 63 | 408 | 139.4654
11.7 | 41 | 4 | 30 | 0 | 63 | 408 | 139.4654
11.9 | 41 | 5 | 30 | 0 | 63 | 408 | 148.5599
7.8 | 33 | 6 | 30 | 0 | 63 | 432 | 166.958
60.7 | 33 | 7 | 30 | 0 | 63 | 432 | 161.1293
8.4 | 33 | 8 | 30 | 0 | 63 | 432 | 161.1293
8.1 | 33 | 9 | 30 | 0 | 63 | 432 | 160.7933
8.4 | 33 | 10 | 30 | 0 | 63 | 432 | 160.7933
799.3 | 28 | 1 | 30 | 0 | 100 | 72 | 40.4876
637.6 | 28 | 2 | 30 | 0 | 100 | 72 | 40.0192
717 | 28 | 3 | 30 | 0 | 100 | 72 | 41.0126
673.7 | 28 | 4 | 30 | 0 | 100 | 72 | 41.112
809.5 | 28 | 5 | 30 | 0 | 100 | 72 | 41.4781
810.9 | 24 | 1 | 30 | 0 | 100 | 93.6 | 68.5875
496.7 | 24 | 2 | 30 | 0 | 100 | 93.6 | 67.9408
748.7 | 24 | 3 | 30 | 0 | 100 | 93.6 | 67.9833
766.5 | 24 | 4 | 30 | 0 | 100 | 93.6 | 68.3845
716.7 | 24 | 5 | 30 | 0 | 100 | 93.6 | 69.22
630.9 | 45 | 1 | 30 | 0 | 100 | 124.08 | 86.6164
737 | 45 | 2 | 30 | 0 | 100 | 124.08 | 85.3199
740.3 | 45 | 3 | 30 | 0 | 100 | 124.08 | 84.4673
733.1 | 45 | 4 | 30 | 0 | 100 | 124.08 | 83.0997
526.4 | 45 | 5 | 30 | 0 | 100 | 124.08 | 83.7391
477.6 | 28 | 1 | 30 | 0 | 100 | 146.64 | 94.471
430.4 | 28 | 2 | 30 | 0 | 100 | 146.64 | 93.3782
463.9 | 28 | 3 | 30 | 0 | 100 | 146.64 | 95.6961
200.6 | 28 | 4 | 30 | 0 | 100 | 146.64 | 95.9279
462.5 | 28 | 5 | 30 | 0 | 100 | 146.64 | 96.7822
483.1 | 45 | 1 | 30 | 0 | 100 | 175.2 | 115.4886
737.3 | 45 | 2 | 30 | 0 | 100 | 175.2 | 113.7598
715.6 | 45 | 3 | 30 | 0 | 100 | 175.2 | 112.6231
464.5 | 45 | 4 | 30 | 0 | 100 | 175.2 | 110.7996
680.3 | 45 | 5 | 30 | 0 | 100 | 175.2 | 111.6521
527 | 46 | 1 | 30 | 0 | 100 | 193.68 | 123.7393
453.7 | 46 | 2 | 30 | 0 | 100 | 193.68 | 122.8583
295 | 46 | 3 | 30 | 0 | 100 | 193.68 | 124.292
128.1 | 46 | 4 | 30 | 0 | 100 | 193.68 | 122.9188
130.3 | 46 | 5 | 30 | 0 | 100 | 193.68 | 124.0156
702 | 24 | 1 | 30 | 0 | 100 | 221.52 | 137.175
166.4 | 24 | 2 | 30 | 0 | 100 | 221.52 | 135.8816
728.7 | 24 | 3 | 30 | 0 | 100 | 221.52 | 135.9665
484 | 24 | 4 | 30 | 0 | 100 | 221.52 | 136.769
625.9 | 24 | 5 | 30 | 0 | 100 | 221.52 | 138.44
284 | 46 | 1 | 30 | 0 | 100 | 240 | 151.2369
124.2 | 46 | 2 | 30 | 0 | 100 | 240 | 150.1602
183.1 | 46 | 3 | 30 | 0 | 100 | 240 | 151.9125
279.8 | 46 | 4 | 30 | 0 | 100 | 240 | 150.2341
267.3 | 46 | 5 | 30 | 0 | 100 | 240 | 151.5747
16.7 | 28 | 1 | 30 | 0 | 100 | 264 | 161.9502
158.9 | 28 | 2 | 30 | 0 | 100 | 264 | 160.077
197.8 | 28 | 3 | 30 | 0 | 100 | 264 | 164.0505
121.6 | 28 | 4 | 30 | 0 | 100 | 264 | 164.4479
209.8 | 28 | 5 | 30 | 0 | 100 | 264 | 165.9124
48.4 | 45 | 1 | 30 | 0 | 100 | 294 | 187.6689
17.6 | 45 | 2 | 30 | 0 | 100 | 294 | 184.8597
193.7 | 45 | 3 | 30 | 0 | 100 | 294 | 183.0125
233.4 | 45 | 4 | 30 | 0 | 100 | 294 | 180.0493
17.3 | 45 | 5 | 30 | 0 | 100 | 294 | 181.4347
29.3 | 25 | 1 | 30 | 0 | 100 | 320.4 | 187.8828
7.8 | 25 | 2 | 30 | 0 | 100 | 320.4 | 186.9699
105.6 | 25 | 3 | 30 | 0 | 100 | 320.4 | 189.8541
7.5 | 25 | 4 | 30 | 0 | 100 | 320.4 | 185.713
7.6 | 25 | 5 | 30 | 0 | 100 | 320.4 | 187.1816
16.4 | 46 | 1 | 30 | 0 | 100 | 348 | 206.2321
16.7 | 46 | 2 | 30 | 0 | 100 | 348 | 204.7639
16.7 | 46 | 3 | 30 | 0 | 100 | 348 | 207.1534
16.1 | 46 | 4 | 30 | 0 | 100 | 348 | 204.8646
17.5 | 46 | 5 | 30 | 0 | 100 | 348 | 206.6927
712.3 | 54 | 1 | 50 | 0 | 0 | 168 | 0
804.5 | 54 | 2 | 50 | 0 | 0 | 168 | 0
610.5 | 54 | 3 | 50 | 0 | 0 | 168 | 0
779.5 | 54 | 4 | 50 | 0 | 0 | 336 | 0
719.5 | 54 | 5 | 50 | 0 | 0 | 336 | 0
666.8 | 54 | 6 | 50 | 0 | 0 | 336 | 0
588.1 | 54 | 1 | 50 | 0 | 0 | 504 | 0
758.1 | 54 | 2 | 50 | 0 | 0 | 504 | 0
755.9 | 54 | 3 | 50 | 0 | 0 | 504 | 0
741.2 | 54 | 4 | 50 | 0 | 0 | 504 | 0
600.6 | 54 | 5 | 50 | 0 | 0 | 1872 | 0
771.9 | 54 | 6 | 50 | 0 | 0 | 1872 | 0
731.2 | 54 | 7 | 50 | 0 | 0 | 1872 | 0
556.4 | 54 | 8 | 50 | 0 | 0 | 1872 | 0
699.8 | 54 | 9 | 50 | 0 | 0 | 1872 | 0
726.2 | 21 | 1 | 50 | 75 | 100 | 24 | 13.3349
670.6 | 21 | 2 | 50 | 75 | 100 | 24 | 13.3349
792.8 | 21 | 3 | 50 | 75 | 100 | 24 | 13.249
833.9 | 21 | 4 | 50 | 75 | 100 | 24 | 13.249
445.6 | 21 | 5 | 50 | 75 | 100 | 24 | 13.1954
584.5 | 27 | 1 | 50 | 75 | 100 | 48 | 27.0092
696.7 | 27 | 2 | 50 | 75 | 100 | 48 | 27.0092
746.1 | 27 | 3 | 50 | 75 | 100 | 48 | 27.2151
787.5 | 27 | 4 | 50 | 75 | 100 | 48 | 27.2151
830.9 | 27 | 5 | 50 | 75 | 100 | 48 | 28.2186
497.3 | 21 | 1 | 50 | 75 | 100 | 72 | 40.0048
462.8 | 21 | 2 | 50 | 75 | 100 | 72 | 40.0048
513.4 | 21 | 3 | 50 | 75 | 100 | 72 | 39.747
670.6 | 21 | 4 | 50 | 75 | 100 | 72 | 39.747
145.1 | 21 | 5 | 50 | 75 | 100 | 72 | 39.5862
461.4 | 21 | 6 | 50 | 75 | 100 | 96 | 52.7816
198.6 | 21 | 7 | 50 | 75 | 100 | 96 | 51.7358
380.3 | 21 | 8 | 50 | 75 | 100 | 96 | 51.7358
414.8 | 21 | 9 | 50 | 75 | 100 | 96 | 51.9649
447 | 21 | 10 | 50 | 75 | 100 | 96 | 51.9649
16.4 | 27 | 1 | 50 | 75 | 100 | 115.2 | 64.8221
157 | 27 | 2 | 50 | 75 | 100 | 115.2 | 64.8221
67.9 | 27 | 3 | 50 | 75 | 100 | 115.2 | 65.3162
125.3 | 27 | 4 | 50 | 75 | 100 | 115.2 | 65.3162
13.1 | 27 | 5 | 50 | 75 | 100 | 115.2 | 67.7247
16.1 | 27 | 6 | 50 | 75 | 100 | 120 | 70.5465
18.1 | 27 | 7 | 50 | 75 | 100 | 120 | 69.008
34.5 | 27 | 8 | 50 | 75 | 100 | 120 | 69.008
16.7 | 27 | 9 | 50 | 75 | 100 | 120 | 69.1882
17.9 | 27 | 10 | 50 | 75 | 100 | 120 | 69.1882
7 | 21 | 6 | 50 | 75 | 100 | 144 | 79.1724
5 | 21 | 7 | 50 | 75 | 100 | 144 | 77.6036
5.5 | 21 | 8 | 50 | 75 | 100 | 144 | 77.6036
4.5 | 21 | 9 | 50 | 75 | 100 | 144 | 77.9473
6.5 | 21 | 10 | 50 | 75 | 100 | 144 | 77.9473
724.8 | 46 | 6 | 50 | 0 | 10 | 24 | 1.381
713.2 | 46 | 7 | 50 | 0 | 10 | 24 | 1.3658
678.2 | 46 | 8 | 50 | 0 | 10 | 24 | 1.3658
740 | 46 | 9 | 50 | 0 | 10 | 24 | 1.378
778.1 | 46 | 10 | 50 | 0 | 10 | 24 | 1.378
720 | 46 | 1 | 50 | 0 | 10 | 48 | 2.7498
759.5 | 46 | 2 | 50 | 0 | 10 | 48 | 2.7498
745.6 | 46 | 3 | 50 | 0 | 10 | 48 | 2.7302
685.4 | 46 | 4 | 50 | 0 | 10 | 48 | 2.7302
727.3 | 46 | 5 | 50 | 0 | 10 | 48 | 2.762
655.3 | 46 | 1 | 50 | 0 | 10 | 72 | 4.1246
729.5 | 46 | 2 | 50 | 0 | 10 | 72 | 4.1246
665.9 | 46 | 3 | 50 | 0 | 10 | 72 | 4.0953
734.7 | 46 | 4 | 50 | 0 | 10 | 72 | 4.0953
717 | 46 | 5 | 50 | 0 | 10 | 72 | 4.1431
729.1 | 46 | 6 | 50 | 0 | 10 | 96 | 5.5241
737 | 46 | 7 | 50 | 0 | 10 | 96 | 5.4631
706.4 | 46 | 8 | 50 | 0 | 10 | 96 | 5.4631
673.1 | 46 | 9 | 50 | 0 | 10 | 96 | 5.5118
702.3 | 46 | 10 | 50 | 0 | 10 | 96 | 5.5118
694.3 | 33 | 1 | 50 | 0 | 10 | 120 | 6.9161
742.5 | 33 | 2 | 50 | 0 | 10 | 120 | 6.9161
674.5 | 33 | 3 | 50 | 0 | 10 | 120 | 6.8601
739.5 | 33 | 4 | 50 | 0 | 10 | 120 | 6.8601
679.2 | 33 | 5 | 50 | 0 | 10 | 120 | 6.9993
746.9 | 33 | 1 | 50 | 0 | 10 | 144 | 8.2993
322.5 | 33 | 2 | 50 | 0 | 10 | 144 | 8.2993
769.8 | 33 | 3 | 50 | 0 | 10 | 144 | 8.2321
777.3 | 33 | 4 | 50 | 0 | 10 | 144 | 8.2321
738.4 | 33 | 5 | 50 | 0 | 10 | 144 | 8.3992
601.8 | 46 | 1 | 50 | 0 | 10 | 168 | 9.6242
759.5 | 46 | 2 | 50 | 0 | 10 | 168 | 9.6242
339.2 | 46 | 3 | 50 | 0 | 10 | 168 | 9.5556
783.9 | 46 | 4 | 50 | 0 | 10 | 168 | 9.5556
770.8 | 46 | 5 | 50 | 0 | 10 | 168 | 9.6672
794.8 | 46 | 6 | 50 | 0 | 10 | 192 | 11.0482
646.4 | 46 | 7 | 50 | 0 | 10 | 192 | 10.9261
443.1 | 46 | 8 | 50 | 0 | 10 | 192 | 10.9261
726.5 | 46 | 9 | 50 | 0 | 10 | 192 | 11.0236
724.7 | 46 | 10 | 50 | 0 | 10 | 192 | 11.0236
663.9 | 46 | 6 | 50 | 0 | 10 | 216 | 12.4292
703.6 | 46 | 7 | 50 | 0 | 10 | 216 | 12.2919
563.7 | 46 | 8 | 50 | 0 | 10 | 216 | 12.2919
508.6 | 46 | 9 | 50 | 0 | 10 | 216 | 12.4016
427.6 | 46 | 10 | 50 | 0 | 10 | 216 | 12.4016
724.2 | 46 | 1 | 50 | 0 | 10 | 240 | 13.7488
773.2 | 46 | 2 | 50 | 0 | 10 | 240 | 13.7488
654.5 | 46 | 3 | 50 | 0 | 10 | 240 | 13.6509
679.8 | 46 | 4 | 50 | 0 | 10 | 240 | 13.6509
704.5 | 46 | 5 | 50 | 0 | 10 | 240 | 13.8102
742 | 33 | 1 | 50 | 0 | 10 | 264 | 15.2153
454.8 | 33 | 2 | 50 | 0 | 10 | 264 | 15.2153
587 | 33 | 3 | 50 | 0 | 10 | 264 | 15.0922
725 | 33 | 4 | 50 | 0 | 10 | 264 | 15.0922
502.3 | 33 | 5 | 50 | 0 | 10 | 264 | 15.3985
208.4 | 33 | 6 | 50 | 0 | 10 | 288 | 16.7983
495.8 | 33 | 7 | 50 | 0 | 10 | 288 | 16.4443
498.1 | 33 | 8 | 50 | 0 | 10 | 288 | 16.4443
497.2 | 33 | 9 | 50 | 0 | 10 | 288 | 16.553
372 | 33 | 10 | 50 | 0 | 10 | 288 | 16.553
130.9 | 46 | 6 | 50 | 0 | 10 | 312 | 17.9533
278.5 | 46 | 7 | 50 | 0 | 10 | 312 | 17.7549
221.4 | 46 | 8 | 50 | 0 | 10 | 312 | 17.7549
222 | 46 | 9 | 50 | 0 | 10 | 312 | 17.9134
78.4 | 46 | 10 | 50 | 0 | 10 | 312 | 17.9134
41.2 | 46 | 1 | 50 | 0 | 10 | 336 | 19.2483
137.6 | 46 | 2 | 50 | 0 | 10 | 336 | 19.2483
131.2 | 46 | 3 | 50 | 0 | 10 | 336 | 19.1113
124.2 | 46 | 4 | 50 | 0 | 10 | 336 | 19.1113
88.4 | 46 | 5 | 50 | 0 | 10 | 336 | 19.3343
25.9 | 46 | 1 | 50 | 0 | 10 | 360 | 20.6232
37.2 | 46 | 2 | 50 | 0 | 10 | 360 | 20.6232
38.4 | 46 | 3 | 50 | 0 | 10 | 360 | 20.4764
7 | 46 | 4 | 50 | 0 | 10 | 360 | 20.4764
68.3 | 46 | 5 | 50 | 0 | 10 | 360 | 20.7153
7.3 | 46 | 6 | 50 | 0 | 10 | 384 | 22.0964
7.3 | 46 | 7 | 50 | 0 | 10 | 384 | 21.8522
8.7 | 46 | 8 | 50 | 0 | 10 | 384 | 21.8522
7.3 | 46 | 9 | 50 | 0 | 10 | 384 | 22.0472
43.7 | 46 | 10 | 50 | 0 | 10 | 384 | 22.0472
5.9 | 33 | 6 | 50 | 0 | 10 | 408 | 23.7977
4.7 | 33 | 7 | 50 | 0 | 10 | 408 | 23.2961
6.2 | 33 | 8 | 50 | 0 | 10 | 408 | 23.2961
7 | 33 | 9 | 50 | 0 | 10 | 408 | 23.45
6.1 | 33 | 10 | 50 | 0 | 10 | 408 | 23.45
5.9 | 33 | 1 | 50 | 0 | 10 | 432 | 24.8978
4.8 | 33 | 2 | 50 | 0 | 10 | 432 | 24.8978
4.2 | 33 | 3 | 50 | 0 | 10 | 432 | 24.6963
6.7 | 33 | 4 | 50 | 0 | 10 | 432 | 24.6963
5.3 | 33 | 5 | 50 | 0 | 10 | 432 | 25.1975
630.3 | 46 | 1 | 50 | 0 | 25 | 24 | 3.7434
679.2 | 46 | 2 | 50 | 0 | 25 | 24 | 3.7434
726.3 | 46 | 3 | 50 | 0 | 25 | 24 | 3.726
730.9 | 46 | 4 | 50 | 0 | 25 | 24 | 3.726
659.4 | 46 | 5 | 50 | 0 | 25 | 24 | 3.7593
663.2 | 45 | 1 | 50 | 0 | 25 | 48 | 7.4843
551.1 | 45 | 2 | 50 | 0 | 25 | 48 | 7.4843
664.5 | 45 | 3 | 50 | 0 | 25 | 48 | 7.4593
727.8 | 45 | 4 | 50 | 0 | 25 | 48 | 7.4593
719.5 | 45 | 5 | 50 | 0 | 25 | 48 | 7.4781
522.5 | 45 | 6 | 50 | 0 | 25 | 72 | 11.2171
638.4 | 45 | 7 | 50 | 0 | 25 | 72 | 10.8606
647.3 | 45 | 8 | 50 | 0 | 25 | 72 | 10.8606
638.4 | 45 | 9 | 50 | 0 | 25 | 72 | 10.7879
730.3 | 45 | 10 | 50 | 0 | 25 | 72 | 10.7879
760.6 | 45 | 6 | 50 | 0 | 25 | 96 | 14.9561
290.2 | 45 | 7 | 50 | 0 | 25 | 96 | 14.4809
807.5 | 45 | 8 | 50 | 0 | 25 | 96 | 14.4809
503.7 | 45 | 9 | 50 | 0 | 25 | 96 | 14.3839
687.3 | 45 | 10 | 50 | 0 | 25 | 96 | 14.3839
138.7 | 45 | 1 | 50 | 0 | 25 | 120 | 18.7108
487 | 45 | 2 | 50 | 0 | 25 | 120 | 18.7108
778.7 | 45 | 3 | 50 | 0 | 25 | 120 | 18.6482
680.9 | 45 | 4 | 50 | 0 | 25 | 120 | 18.6482
633.7 | 45 | 5 | 50 | 0 | 25 | 120 | 18.6952
130.3 | 46 | 6 | 50 | 0 | 25 | 144 | 22.556
162.9 | 46 | 7 | 50 | 0 | 25 | 144 | 21.0293
489.2 | 46 | 8 | 50 | 0 | 25 | 144 | 21.0293
44.7 | 46 | 9 | 50 | 0 | 25 | 144 | 20.4371
330.3 | 46 | 10 | 50 | 0 | 25 | 144 | 20.4371
233.7 | 46 | 6 | 50 | 0 | 25 | 156 | 24.4356
117.1 | 46 | 7 | 50 | 0 | 25 | 156 | 22.7818
228.1 | 46 | 8 | 50 | 0 | 25 | 156 | 22.7818
317 | 46 | 9 | 50 | 0 | 25 | 156 | 22.1402
282 | 46 | 10 | 50 | 0 | 25 | 156 | 22.1402
171.2 | 45 | 1 | 50 | 0 | 25 | 168 | 26.1951
139.2 | 45 | 2 | 50 | 0 | 25 | 168 | 26.1951
455.9 | 45 | 3 | 50 | 0 | 25 | 168 | 26.1075
168.1 | 45 | 4 | 50 | 0 | 25 | 168 | 26.1075
250.9 | 45 | 5 | 50 | 0 | 25 | 168 | 26.1732
125.9 | 46 | 1 | 50 | 0 | 25 | 172.8 | 26.9528
203.7 | 46 | 2 | 50 | 0 | 25 | 172.8 | 26.9528
335.9 | 46 | 3 | 50 | 0 | 25 | 172.8 | 26.8272
169.2 | 46 | 4 | 50 | 0 | 25 | 172.8 | 26.8272
185 | 46 | 5 | 50 | 0 | 25 | 172.8 | 27.0672
313.1 | 45 | 6 | 50 | 0 | 25 | 192 | 29.9122
63.7 | 45 | 7 | 50 | 0 | 25 | 192 | 28.9617
153.1 | 45 | 8 | 50 | 0 | 25 | 192 | 28.9617
162.3 | 45 | 9 | 50 | 0 | 25 | 192 | 28.7679
42.5 | 45 | 10 | 50 | 0 | 25 | 192 | 28.7679
29.2 | 46 | 1 | 50 | 0 | 25 | 216 | 33.691
29.8 | 46 | 2 | 50 | 0 | 25 | 216 | 33.691
35.3 | 46 | 3 | 50 | 0 | 25 | 216 | 33.5339
70.6 | 46 | 4 | 50 | 0 | 25 | 216 | 33.5339
6.4 | 46 | 5 | 50 | 0 | 25 | 216 | 33.834
6.1 | 46 | 1 | 50 | 0 | 25 | 240 | 37.4344
7.5 | 46 | 2 | 50 | 0 | 25 | 240 | 37.4344
15 | 46 | 3 | 50 | 0 | 25 | 240 | 37.2599
6.7 | 46 | 4 | 50 | 0 | 25 | 240 | 37.2599
7.6 | 46 | 5 | 50 | 0 | 25 | 240 | 37.5933
7.6 | 45 | 1 | 50 | 0 | 25 | 264 | 41.1637
7.5 | 45 | 2 | 50 | 0 | 25 | 264 | 41.1637
8.4 | 45 | 3 | 50 | 0 | 25 | 264 | 41.0261
9.2 | 45 | 4 | 50 | 0 | 25 | 264 | 41.0261
9.5 | 45 | 5 | 50 | 0 | 25 | 264 | 41.1293
700.6 | 37 | 1 | 40 | 0 | 63 | 24 | 7.2384 |  | repeat 40C/63%
797 | 37 | 2 | 40 | 0 | 63 | 24 | 7.2384
670 | 37 | 3 | 40 | 0 | 63 | 24 | 7.3623
656.4 | 37 | 4 | 40 | 0 | 63 | 24 | 7.3623
740.3 | 37 | 5 | 40 | 0 | 63 | 24 | 7.5568
772.3 | 37 | 6 | 40 | 0 | 63 | 55.2 | 17.3805
725.6 | 37 | 7 | 40 | 0 | 63 | 55.2 | 17.3412
693.4 | 37 | 8 | 40 | 0 | 63 | 55.2 | 17.3412
783.1 | 37 | 9 | 40 | 0 | 63 | 55.2 | 17.3609
525.6 | 37 | 10 | 40 | 0 | 63 | 55.2 | 17.3609
728.4 | 37 | 1 | 40 | 0 | 63 | 72 | 21.7153
602 | 37 | 2 | 40 | 0 | 63 | 72 | 21.7153
707.6 | 37 | 3 | 40 | 0 | 63 | 72 | 22.087
682.8 | 37 | 4 | 40 | 0 | 63 | 72 | 22.087
727.6 | 37 | 5 | 40 | 0 | 63 | 72 | 22.6703
683.1 | 37 | 1 | 40 | 0 | 63 | 96 | 28.9537
757.6 | 37 | 2 | 40 | 0 | 63 | 96 | 28.9537
749.2 | 37 | 3 | 40 | 0 | 63 | 96 | 29.4493
757.3 | 37 | 4 | 40 | 0 | 63 | 96 | 29.4493
746.1 | 37 | 5 | 40 | 0 | 63 | 96 | 30.227
477.3 | 37 | 6 | 40 | 0 | 63 | 120 | 37.7838
497.3 | 37 | 7 | 40 | 0 | 63 | 120 | 37.6983
294.2 | 37 | 8 | 40 | 0 | 63 | 120 | 37.6983
466.7 | 37 | 9 | 40 | 0 | 63 | 120 | 37.741
466.4 | 37 | 10 | 40 | 0 | 63 | 120 | 37.741
567.3 | 37 | 1 | 40 | 0 | 63 | 144 | 43.4305
475.9 | 37 | 2 | 40 | 0 | 63 | 144 | 43.4305
778.1 | 37 | 3 | 40 | 0 | 63 | 144 | 44.174
226.4 | 37 | 4 | 40 | 0 | 63 | 144 | 44.174
590.6 | 37 | 5 | 40 | 0 | 63 | 144 | 45.3405
273.1 | 37 | 1 | 40 | 0 | 63 | 170.64 | 51.4652
182.8 | 37 | 2 | 40 | 0 | 63 | 170.64 | 51.4652
239.5 | 37 | 3 | 40 | 0 | 63 | 170.64 | 52.3462
169.5 | 37 | 4 | 40 | 0 | 63 | 170.64 | 52.3462
294.5 | 37 | 5 | 40 | 0 | 63 | 170.64 | 53.7285
433.9 | 37 | 6 | 40 | 0 | 63 | 194.4 | 61.2853
236.7 | 37 | 7 | 40 | 0 | 63 | 194.4 | 61.1467
297.5 | 37 | 8 | 40 | 0 | 63 | 194.4 | 61.1467
75.1 | 37 | 9 | 40 | 0 | 63 | 194.4 | 61.216
260.3 | 37 | 10 | 40 | 0 | 63 | 194.4 | 61.216
120.6 | 37 | 6 | 40 | 0 | 63 | 211.2 | 66.4995
117.5 | 37 | 7 | 40 | 0 | 63 | 211.2 | 66.349
285.9 | 37 | 8 | 40 | 0 | 63 | 211.2 | 66.349
113.8 | 37 | 9 | 40 | 0 | 63 | 211.2 | 66.4242
262.3 | 37 | 10 | 40 | 0 | 63 | 211.2 | 66.4242
7 | 37 | 1 | 40 | 0 | 63 | 232.8 | 70.2127
101.5 | 37 | 2 | 40 | 0 | 63 | 232.8 | 70.2127
173.4 | 37 | 3 | 40 | 0 | 63 | 232.8 | 71.4147
101.4 | 37 | 4 | 40 | 0 | 63 | 232.8 | 71.4147
105.9 | 37 | 5 | 40 | 0 | 63 | 232.8 | 73.3005
114 | 37 | 1 | 40 | 0 | 63 | 240 | 72.3842
96.2 | 37 | 2 | 40 | 0 | 63 | 240 | 72.3842
116.7 | 37 | 3 | 40 | 0 | 63 | 240 | 73.6234
6.5 | 37 | 4 | 40 | 0 | 63 | 240 | 73.6234
7 | 37 | 5 | 40 | 0 | 63 | 240 | 75.5676
6.5 | 37 | 6 | 40 | 0 | 63 | 264 | 83.1243
6.7 | 37 | 7 | 40 | 0 | 63 | 264 | 82.9363
4.5 | 37 | 8 | 40 | 0 | 63 | 264 | 82.9363
6.4 | 37 | 9 | 40 | 0 | 63 | 264 | 83.0303
6.2 | 37 | 10 | 40 | 0 | 63 | 264 | 83.0303
728.1 | 25 | 6 | 40 | 0 | 10 | 96 | 5.4244
729.5 | 25 | 7 | 40 | 0 | 10 | 96 | 5.3061
791.4 | 25 | 8 | 40 | 0 | 10 | 96 | 5.3061
736.4 | 25 | 9 | 40 | 0 | 10 | 96 | 5.348
637 | 25 | 10 | 40 | 0 | 10 | 96 | 5.348
755.6 | 25 | 1 | 40 | 0 | 10 | 120 | 6.7101
335 | 25 | 2 | 40 | 0 | 10 | 120 | 6.7101
603.7 | 25 | 3 | 40 | 0 | 10 | 120 | 6.6775
587.6 | 25 | 4 | 40 | 0 | 10 | 120 | 6.6775
698.4 | 25 | 5 | 40 | 0 | 10 | 120 | 6.7805
730 | 25 | 6 | 40 | 0 | 10 | 144 | 8.1366
632.6 | 25 | 7 | 40 | 0 | 10 | 144 | 7.9591
694.5 | 25 | 8 | 40 | 0 | 10 | 144 | 7.9591
762.9 | 25 | 9 | 40 | 0 | 10 | 144 | 8.0221
786.4 | 25 | 10 | 40 | 0 | 10 | 144 | 8.0221
770.9 | 33 | 1 | 40 | 0 | 10 | 192 | 11.0657
780.3 | 33 | 2 | 40 | 0 | 10 | 192 | 11.0657
740.6 | 33 | 3 | 40 | 0 | 10 | 192 | 10.9761
631.7 | 33 | 4 | 40 | 0 | 10 | 192 | 10.9761
778.2 | 33 | 5 | 40 | 0 | 10 | 192 | 11.1989
785.6 | 25 | 6 | 40 | 0 | 10 | 216 | 12.2049
765.9 | 25 | 7 | 40 | 0 | 10 | 216 | 11.9387
681.4 | 25 | 8 | 40 | 0 | 10 | 216 | 11.9387
811.8 | 25 | 9 | 40 | 0 | 10 | 216 | 12.0331
618.4 | 25 | 10 | 40 | 0 | 10 | 216 | 12.0331
729.8 | 46 | 1 | 40 | 0 | 10 | 240 | 13.7488
762 | 46 | 2 | 40 | 0 | 10 | 240 | 13.7488
278.4 | 46 | 3 | 40 | 0 | 10 | 240 | 13.6509
748.1 | 46 | 4 | 40 | 0 | 10 | 240 | 13.6509
741.4 | 46 | 5 | 40 | 0 | 10 | 240 | 13.8102
515.6 | 28 | 6 | 40 | 0 | 10 | 264 | 15.038
751.2 | 28 | 7 | 40 | 0 | 10 | 264 | 15.0744
750.9 | 28 | 8 | 40 | 0 | 10 | 264 | 15.0744
761.4 | 28 | 9 | 40 | 0 | 10 | 264 | 15.2086
507 | 28 | 10 | 40 | 0 | 10 | 264 | 15.2086
700.6 | 28 | 1 | 40 | 0 | 10 | 288 | 16.195
623.9 | 28 | 2 | 40 | 0 | 10 | 288 | 16.195
570.9 | 28 | 3 | 40 | 0 | 10 | 288 | 16.0077
682 | 28 | 4 | 40 | 0 | 10 | 288 | 16.0077
805.3 | 28 | 5 | 40 | 0 | 10 | 288 | 16.4051
730 | 33 | 1 | 40 | 0 | 10 | 312 | 17.9818
809.5 | 33 | 2 | 40 | 0 | 10 | 312 | 17.9818
695 | 33 | 3 | 40 | 0 | 10 | 312 | 17.8362
713.4 | 33 | 4 | 40 | 0 | 10 | 312 | 17.8362
528.7 | 33 | 5 | 40 | 0 | 10 | 312 | 18.1982
713.4 | 25 | 1 | 40 | 0 | 10 | 336 | 18.7883
748.7 | 25 | 2 | 40 | 0 | 10 | 336 | 18.7883
734.7 | 25 | 3 | 40 | 0 | 10 | 336 | 18.697
438.1 | 25 | 4 | 40 | 0 | 10 | 336 | 18.697
733.7 | 25 | 5 | 40 | 0 | 10 | 336 | 18.9854
668.9 | 33 | 1 | 40 | 0 | 10 | 368.88 | 21.26
597.8 | 33 | 2 | 40 | 0 | 10 | 368.88 | 21.26
484.8 | 33 | 3 | 40 | 0 | 10 | 368.88 | 21.0879
518.1 | 33 | 4 | 40 | 0 | 10 | 368.88 | 21.0879
495.6 | 33 | 5 | 40 | 0 | 10 | 368.88 | 21.5159
475.6 | 25 | 1 | 40 | 0 | 10 | 384 | 21.4723
43.9 | 25 | 2 | 40 | 0 | 10 | 384 | 21.4723
597 | 25 | 3 | 40 | 0 | 10 | 384 | 21.368
470.9 | 25 | 4 | 40 | 0 | 10 | 384 | 21.368
319.2 | 25 | 5 | 40 | 0 | 10 | 384 | 21.6976
188.4 | 25 | 6 | 40 | 0 | 10 | 408 | 23.0537
465.9 | 25 | 7 | 40 | 0 | 10 | 408 | 22.5509
507.3 | 25 | 8 | 40 | 0 | 10 | 408 | 22.5509
483.1 | 25 | 9 | 40 | 0 | 10 | 408 | 22.7292
274.2 | 25 | 10 | 40 | 0 | 10 | 408 | 22.7292
263.4 | 33 | 6 | 40 | 0 | 10 | 432 | 25.1975
181.8 | 33 | 7 | 40 | 0 | 10 | 432 | 24.6665
215.3 | 33 | 8 | 40 | 0 | 10 | 432 | 24.6665
304.8 | 33 | 9 | 40 | 0 | 10 | 432 | 24.8295
327.5 | 33 | 10 | 40 | 0 | 10 | 432 | 24.8295
216.5 | 25 | 1 | 40 | 0 | 10 | 456 | 25.4984
491.2 | 25 | 2 | 40 | 0 | 10 | 456 | 25.4984
511.5 | 25 | 3 | 40 | 0 | 10 | 456 | 25.3745
240.3 | 25 | 4 | 40 | 0 | 10 | 456 | 25.3745
173.4 | 25 | 5 | 40 | 0 | 10 | 456 | 25.7659
188.1 | 28 | 1 | 40 | 0 | 10 | 480 | 26.9917
163.6 | 28 | 2 | 40 | 0 | 10 | 480 | 26.9917
102.2 | 28 | 3 | 40 | 0 | 10 | 480 | 26.6795
92.9 | 28 | 4 | 40 | 0 | 10 | 480 | 26.6795
59.8 | 28 | 5 | 40 | 0 | 10 | 480 | 27.3418
111.7 | 28 | 6 | 40 | 0 | 10 | 504 | 28.7088
32 | 28 | 7 | 40 | 0 | 10 | 504 | 28.7784
43.4 | 28 | 8 | 40 | 0 | 10 | 504 | 28.7784
111.7 | 28 | 9 | 40 | 0 | 10 | 504 | 29.0347
97.8 | 28 | 10 | 40 | 0 | 10 | 504 | 29.0347
7.3 | 46 | 6 | 40 | 0 | 10 | 552 | 31.7635
33.4 | 46 | 7 | 40 | 0 | 10 | 552 | 31.4126
7.5 | 46 | 8 | 40 | 0 | 10 | 552 | 31.4126
7.3 | 46 | 9 | 40 | 0 | 10 | 552 | 31.6929
31.4 | 46 | 10 | 40 | 0 | 10 | 552 | 31.6929
633.4 | 25 | 6 | 40 | 0 | 25 | 24 | 3.3903
674.2 | 25 | 7 | 40 | 0 | 25 | 24 | 3.3163
611.2 | 25 | 8 | 40 | 0 | 25 | 24 | 3.3163
664.8 | 25 | 9 | 40 | 0 | 25 | 24 | 3.3425
567 | 25 | 10 | 40 | 0 | 25 | 24 | 3.3425
744.5 | 45 | 1 | 40 | 0 | 25 | 96 | 14.9686
328.9 | 45 | 2 | 40 | 0 | 25 | 96 | 14.9686
742.5 | 45 | 3 | 40 | 0 | 25 | 96 | 14.9186
776.8 | 45 | 4 | 40 | 0 | 25 | 96 | 14.9186
701.4 | 45 | 5 | 40 | 0 | 25 | 96 | 14.9561
794.5 | 25 | 1 | 40 | 0 | 25 | 120 | 16.7752
648 | 25 | 2 | 40 | 0 | 25 | 120 | 16.7752
795 | 25 | 3 | 40 | 0 | 25 | 120 | 16.6937
715.3 | 25 | 4 | 40 | 0 | 25 | 120 | 16.6937
767.3 | 25 | 5 | 40 | 0 | 25 | 120 | 16.9513
640 | 37 | 1 | 40 | 0 | 25 | 144 | 17.207
726.8 | 37 | 2 | 40 | 0 | 25 | 144 | 17.207
748.9 | 37 | 3 | 40 | 0 | 25 | 144 | 17.5016
740.1 | 37 | 4 | 40 | 0 | 25 | 144 | 17.5016
774.5 | 37 | 5 | 40 | 0 | 25 | 144 | 17.9638
648.7 | 37 | 1 | 40 | 0 | 25 | 192 | 22.9427
768.9 | 37 | 2 | 40 | 0 | 25 | 192 | 22.9427
435.3 | 37 | 3 | 40 | 0 | 25 | 192 | 23.3355
781.2 | 37 | 4 | 40 | 0 | 25 | 192 | 23.3355
67 | 37 | 5 | 40 | 0 | 25 | 192 | 23.9517
762.3 | 37 | 1 | 40 | 0 | 25 | 216 | 25.8105
734.2 | 37 | 2 | 40 | 0 | 25 | 216 | 25.8105
632.5 | 37 | 3 | 40 | 0 | 25 | 216 | 26.2524
525.9 | 37 | 4 | 40 | 0 | 25 | 216 | 26.2524
449.8 | 37 | 5 | 40 | 0 | 25 | 216 | 26.9456
736.5 | 37 | 6 | 40 | 0 | 25 | 240 | 29.9396
706.4 | 37 | 7 | 40 | 0 | 25 | 240 | 29.8719
782.9 | 37 | 8 | 40 | 0 | 25 | 240 | 29.8719
676.1 | 37 | 9 | 40 | 0 | 25 | 240 | 29.9057
722.8 | 37 | 10 | 40 | 0 | 25 | 240 | 29.9057
238.9 | 25 | 1 | 40 | 0 | 25 | 264 | 36.9055
106.2 | 25 | 2 | 40 | 0 | 25 | 264 | 36.9055
181.7 | 25 | 3 | 40 | 0 | 25 | 264 | 36.7262
143.7 | 25 | 4 | 40 | 0 | 25 | 264 | 36.7262
338.4 | 25 | 5 | 40 | 0 | 25 | 264 | 37.2928
722 | 43 | 1 | 40 | 0 | 25 | 288 | 34.414
145.8 | 43 | 2 | 40 | 0 | 25 | 288 | 34.414
465.6 | 43 | 3 | 40 | 0 | 25 | 288 | 35.0032
330.6 | 43 | 4 | 40 | 0 | 25 | 288 | 35.0032
106.2 | 43 | 5 | 40 | 0 | 25 | 288 | 35.9275
7.3 | 45 | 1 | 40 | 0 | 25 | 312 | 48.648
230.1 | 45 | 2 | 40 | 0 | 25 | 312 | 48.648
128.9 | 45 | 3 | 40 | 0 | 25 | 312 | 48.4854
107.6 | 45 | 4 | 40 | 0 | 25 | 312 | 48.4854
124.5 | 45 | 5 | 40 | 0 | 25 | 312 | 48.6074
5.4 | 25 | 6 | 40 | 0 | 25 | 360 | 50.8538
100.6 | 25 | 7 | 40 | 0 | 25 | 360 | 49.7446
139.8 | 25 | 8 | 40 | 0 | 25 | 360 | 49.7446
129.2 | 25 | 9 | 40 | 0 | 25 | 360 | 50.1379
6.1 | 25 | 10 | 40 | 0 | 25 | 360 | 50.1379
89.3 | 37 | 1 | 40 | 0 | 25 | 384 | 45.8854
87.5 | 37 | 2 | 40 | 0 | 25 | 384 | 45.8854
78.7 | 37 | 3 | 40 | 0 | 25 | 384 | 46.6709
134.2 | 37 | 4 | 40 | 0 | 25 | 384 | 46.6709
7.2 | 37 | 5 | 40 | 0 | 25 | 384 | 47.9034
39.8 | 45 | 6 | 40 | 0 | 25 | 408 | 63.5635
7.2 | 45 | 7 | 40 | 0 | 25 | 408 | 61.5437
5.6 | 45 | 8 | 40 | 0 | 25 | 408 | 61.5437
88.9 | 45 | 9 | 40 | 0 | 25 | 408 | 61.1317
47.3 | 45 | 10 | 40 | 0 | 25 | 408 | 61.1317
785.7 | 37 | 6 | 50 | 0 | 5 | 96 | 2.7997
633.9 | 37 | 7 | 50 | 0 | 5 | 96 | 2.7407
762.2 | 37 | 8 | 50 | 0 | 5 | 96 | 2.7407
542.8 | 37 | 9 | 50 | 0 | 5 | 96 | 2.7588
744.5 | 37 | 10 | 50 | 0 | 5 | 96 | 2.7588
755.6 | 37 | 1 | 50 | 0 | 5 | 144 | 4.1496
605.7 | 37 | 2 | 50 | 0 | 5 | 144 | 4.1496
744.5 | 37 | 3 | 50 | 0 | 5 | 144 | 4.116
592 | 37 | 4 | 50 | 0 | 5 | 144 | 4.116
663.4 | 37 | 5 | 50 | 0 | 5 | 144 | 4.1996
672.5 | 28 | 6 | 50 | 0 | 5 | 192 | 5.4684
646.4 | 28 | 7 | 50 | 0 | 5 | 192 | 5.4816
719.3 | 28 | 8 | 50 | 0 | 5 | 192 | 5.4816
672.5 | 28 | 9 | 50 | 0 | 5 | 192 | 5.5304
743.2 | 28 | 10 | 50 | 0 | 5 | 192 | 5.5304
710.9 | 46 | 6 | 50 | 0 | 5 | 336 | 9.6672
563.1 | 46 | 7 | 50 | 0 | 5 | 336 | 9.5603
748.8 | 46 | 8 | 50 | 0 | 5 | 336 | 9.5603
527.9 | 46 | 9 | 50 | 0 | 5 | 336 | 9.6457
681.1 | 46 | 10 | 50 | 0 | 5 | 336 | 9.6457
745.9 | 28 | 1 | 50 | 0 | 5 | 360 | 10.1219
720.9 | 28 | 2 | 50 | 0 | 5 | 360 | 10.1219
763.7 | 28 | 3 | 50 | 0 | 5 | 360 | 10.0048
752.5 | 28 | 4 | 50 | 0 | 5 | 360 | 10.0048
711.7 | 28 | 5 | 50 | 0 | 5 | 360 | 10.2532
666.5 | 46 | 1 | 50 | 0 | 5 | 408 | 11.6865
203 | 46 | 2 | 50 | 0 | 5 | 408 | 11.6865
422.9 | 46 | 3 | 50 | 0 | 5 | 408 | 11.6033
583.1 | 46 | 4 | 50 | 0 | 5 | 408 | 11.6033
555.3 | 46 | 5 | 50 | 0 | 5 | 408 | 11.7387
682.3 | 28 | 1 | 50 | 0 | 5 | 432 | 12.1463
719.7 | 28 | 2 | 50 | 0 | 5 | 432 | 12.1463
677.3 | 28 | 3 | 50 | 0 | 5 | 432 | 12.0058
395.9 | 28 | 4 | 50 | 0 | 5 | 432 | 12.0058
732.2 | 28 | 5 | 50 | 0 | 5 | 432 | 12.3038
724.2 | 37 | 1 | 50 | 0 | 5 | 504 | 14.5237
472.6 | 37 | 2 | 50 | 0 | 5 | 504 | 14.5237
648.7 | 37 | 3 | 50 | 0 | 5 | 504 | 14.4062
113.7 | 37 | 4 | 50 | 0 | 5 | 504 | 14.4062
645.6 | 37 | 5 | 50 | 0 | 5 | 504 | 14.6986
445.9 | 33 | 6 | 50 | 0 | 5 | 552 | 16.0984
150.3 | 33 | 7 | 50 | 0 | 5 | 552 | 15.7591
512.8 | 33 | 8 | 50 | 0 | 5 | 552 | 15.7591
528.7 | 33 | 9 | 50 | 0 | 5 | 552 | 15.8633
428.1 | 33 | 10 | 50 | 0 | 5 | 552 | 15.8633
219.2 | 46 | 1 | 50 | 0 | 5 | 576 | 16.4986
250.9 | 46 | 2 | 50 | 0 | 5 | 576 | 16.4986
121.2 | 46 | 3 | 50 | 0 | 5 | 576 | 16.3811
134.2 | 46 | 4 | 50 | 0 | 5 | 576 | 16.3811
360.1 | 46 | 5 | 50 | 0 | 5 | 576 | 16.5723
93.7 | 28 | 6 | 50 | 0 | 5 | 600 | 17.0886
44.2 | 28 | 7 | 50 | 0 | 5 | 600 | 17.13
27.3 | 28 | 8 | 50 | 0 | 5 | 600 | 17.13
12.6 | 28 | 9 | 50 | 0 | 5 | 600 | 17.2825
106.7 | 28 | 10 | 50 | 0 | 5 | 600 | 17.2825
5.9 | 46 | 6 | 50 | 0 | 5 | 648 | 18.6438
28.7 | 46 | 7 | 50 | 0 | 5 | 648 | 18.4378
69.2 | 46 | 8 | 50 | 0 | 5 | 648 | 18.4378
89.2 | 46 | 9 | 50 | 0 | 5 | 648 | 18.6023
74.5 | 46 | 10 | 50 | 0 | 5 | 648 | 18.6023